## Slide 1: Temperature Prediction for O-Cloud Servers
Student: M11502273 Chynna 陳以薰
MWC-Project Proposal

## Slide 2
Background Knowledge Problem
Research Paper & Research Gap
Proposal-Motivation & Method
Experimental Plan
Excepted Outcome

## Slide 3: Background Knowledge ＆ Problem
Reference: [1] Ilager et al., IEEE TPDS, 2021.
Server
Temperature
Thermal hotspots
Higher cooling energy consumption
Reduced equipment reliability
Nonlinear workload
Environmental factors
Notes: 在 5G O-RAN 的拆分選項中，我們可以看到像是紫色這列不同的層去做拆分，其中MAC層 以及PHY層之間呢主要是透過FAPI 訊息格式做溝通，那麼如果要將FAPI 拆分成兩台機器的話呢就需要使用 nFAPI 透過網路的方式拆分成不同機器去部屬，那既然拆分的話，兩端就會需要同步，而nFAPI是以slot 為單位的同步等級，更重要的是拆分後需要確保訊息能夠在deadline之前抵達，這邊我們可以先介紹在探討拆分選項6的時候呢我們會稱MAC層以上的叫做VNF PHY層以下的叫做PNF

## Slide 4: Research Paper & Research Gap
Reference: [1] Ilager et al., IEEE TPDS, 2021.
Uses naturally collected host-level data
XGBoost
thermal-aware scheduling
Not cover all operating conditions
Research Gap
thermal states
Notes: Uses naturally collected host-level data and XGBoost to predict thermal states for thermal-aware scheduling. Naturally collected data may not sufficiently cover all operating conditions, and the effect of network traffic is not systematically evaluated under controlled workloads.

## Slide 5
Controlled Conditions
Workload • Low • Medium • High • Burst
Measured Telemetry-Cortexdc
• CPU usage • CPU temperature • Server power • Fan speed • Timestamp + Server ID
Prediction Targets
Future temperature
T(t + Δt) Future power P(t + Δt)
All measurements are aligned by timestamp and stored as a reproducible time-series dataset.
Proposal-Motivation & Method
Motivation: Can controlled network traffic improve future server temperature and power prediction?

## Slide 6
Models
• Persistence • XGBoost
Feature Set A
non-Workload
+ different feature group
Feature Set B
Add Workload
+ Set A Feature group
O-Cloud
Server Data from CortexDC
Experimental Plan
Evaluation
MAE
RMSE
Max Error
Notes: Core question: 1. Does adding traffic reduce prediction error?
2. What the relationship between different feature?

## Slide 7
Expected Outcomes
CortexDC Dataset- Reproducible monitoring data
Prediction Models-Temperature & power prediction
Feature Analysis-Identify key factors
Monitoring Workflow-End-to-end prediction prototype
Notes: Core question: 1. Does adding traffic reduce prediction error?
2. What the relationship between different feature?

## Slide 8: Thank you for listening
Reference: [1] S. Ilager et al., “Thermal Prediction for Efficient Energy Management of Clouds Using Machine Learning,” IEEE TPDS, 2021.